Praman Setu (प्रमाण सेतु)

Tech stack Package

| Framework | React Native | Cross-platform mobile application |
| --- | --- | --- |
| Camera | react-native-vision-camera | Camera preview + capture |
| Image math | OpenCV + JavaScript | Image preprocessing, pixel access, RGB manipulation |
| Color science | JavaScript | LAB, ΔE, gain correction |
| QR scan | React Native QR scanner | Kit ID + batch/lot + expiry |
| QR generate | react-native-qrcode-svg | Embed in PDF |
| PDF | react-native-html-to-pdf (PDF generation) | Evidence / test report |
| Storage | SQLite | Local records + offline sync queue |
| Secure keys | Android Keystore / iOS Keychain | Store keypair |
| Crypto | JavaScript crypto / native crypto APIs | Sign + hash |
| GPS | react-native-geolocation-service | Location |
| Auth | React Native Biometrics + PIN | Operator ID |
| Root detect | React Native device integrity | Tamper flag |
| Blur detect | OpenCV (Laplacian variance) | Quality gate |
| Verification page | Plain HTML + JS | — |

What need to implement for prototype : 27th sep

- Guided camera capture (overlay + exposure/WB lock)

- Manual tap on 6 reference patches

- White-patch gain correction (calibration)

- Sample region tap + RGB LAB conversion →

- ΔE classification + confidence + inconclusive threshold

- Metadata bundle: timestamp, GPS, operator ID, kit type

- SHA-256 of original (uncorrected) image

- SQLite log with list + basic filters

- Result screen showing all metadata

- Hash-chain records

- Sign each record with device keypair

- Verification webpage

- QR scan for kit ID / batch / expiry

- PDF export with embedded hash + QR code

- PIN login (mock operator auth)

- Capture quality gate (blur + glare warning)

- Reference DB version field

- Capture Quality Score (0–100 + Good / Fair / Poor + reasons)

- Good image -> 92 / 100 - Good.

- Blurry image -> Poor - Retake.

- Strong reflection -> Retake required - strong reflection detected.

- Reference card validation (CARD VALID / CARD INVALID gate)

- Use a correct reference card -> CARD VALID.

- Move or tap a wrong patch -> CARD INVALID -> test blocked.

- Reaction timer + capture window (interval from kit protocol)

- Start the simulated reaction timer -> capture remains locked.

- When the required time is reached -> CAPTURE WINDOW OPEN.

- Retest comparison (two separate linked records, side-by-side view)

- Run Test 1 and save the result.

- Select Repeat Test and perform Test 2.

- Show both records side by side.

- Explain that both records remain independent and are linked through retest_of.

- SUPERVISOR REVIEW - CURRENT PROTOTYPE (READ-ONLY)

Last day sprint : Sunday (27 sep)

- 27. Test cases

- 28. Backup demo video

- 29. Pitch + rehearsal

(Part of ppt right now , but will not be implemented right now)

Future scope

- Device root/jailbreak detection (non-blocking production check)

- Encrypted key storage (Android Keystore / iOS Keychain)

Backend

- API gateway

- PostgreSQL + S3 evidence storage

- Analytics dashboard

- Real-time multi-agency synchronization

Security / Legal

- Agency PKI (key provisioning and revocation)

- RFC 3161 trusted timestamps

- HSM for signing keys

- Blockchain Merkle anchoring

- Full SQLCipher encryption

Intelligence

- Automatic reference-card detection (OpenCV)

- On-device CNN classifier

- Multi-kit color library (full NIK + DABIT)

- Per-device calibration profiles

Roles / Workflow

- Lab result linkage

- Court portal (read-only web)

- Multi-officer co-signing

- Full RBAC

SCREEN 1 — LOGIN

• Badge ID + PIN (mock auth)
• Optional: fingerprint via React Native Biometrics
• On success store operator_id in session →
• Role loaded: Officer / Supervisor →
→ Officer → Home
→ Supervisor → Supervisor Review
• Root/jailbreak check runs silently flag stored →

SCREEN 2 — HOME

• Officer name + badge ID
• "Start New Test" button
• "View History" button
• Sync status: SYNCED / PENDING / FAILED

→ New Test OR History

SCREEN 3 — KIT SELECT + QR SCAN

• Dropdown: NIK Test A / B / C / D
• Button: "Scan Kit QR" React Native QR scanner opens →
reads kit ID, kit type, manufacturer, batch/lot, mfg date, expiry date → auto-fills →
• Kit type auto-selects in dropdown (locked after scan)
• Optional: Case ID / FIR number
• Optional: Witness badge ID (for future co-signing)
• Kit summary shows: Type, Batch, Expiry and Status: VALID / EXPIRED
• VALID → continue
• EXPIRED / UNRECOGNISED → "Kit not valid — do not use" → cannot continue
• Kit metadata + status saved with test record

→ Reaction Timer

SCREEN 3A — REACTION TIMER

• Kit protocol checklist (from Reference DB)
• "START TIMER" records reaction start time
• Required interval comes from validated kit protocol — not editable by officer
• Camera may open during countdown for alignment, but capture stays locked
• At required time → vibration + "CAPTURE WINDOW OPEN" → capture enabled
• Capture after maximum window (if defined) → saved, result forced Inconclusive
• Store timer_start, capture_time, elapsed_s, required_s, in_window

→ Guided Capture

SCREEN 4 — GUIDED CAPTURE

• OpenCV image preprocessing for blur, exposure and glare quality checks →

• Live camera preview
• Overlay: [Reference Card rectangle] + [Test Kit rectangle]
• On alignment:
lock exposure + white balance →
capture button turns green →

• Quality gate on capture:
Laplacian variance < threshold → "Image too blurry, retake" →
Glare detection on reaction area → "Retake required — strong reflection detected" →

• Interim Capture Quality:
"92 / 100 — Good"
OR
"Poor — Retake" + top reasons

→ Mark Reference Patches

SCREEN 5 — MARK 6 REFERENCE PATCHES

• Captured image shown
• Prompt sequence:
"Tap WHITE patch" dot placed →
"Tap BLACK patch" dot placed →
"Tap RED patch"
"Tap GREEN patch"
"Tap BLUE patch"
"Tap GRAY patch"

• Each tap 5×5 pixel avg stored → →
• "Retake" always available

• After 6th tap → calibration gains computed + reference card validation runs:
✔ all 6 patches marked and inside frame
✔ expected hue for each patch
✔ white patch not clipped / black patch not crushed
✔ neutral ramp black → gray → white
✔ calibration residual ΔE within limit
✔ card version recognised in Reference DB (QR)

• All checks pass → CARD VALID → continue
• Any check fails → CARD INVALID — DO NOT CONTINUE + failed checks listed
• Retake or End Test → saved as Inconclusive (reason: Card calibration failed)
• Card check result + calibration ΔE stored with record

→ Mark Sample Region

SCREEN 6 — MARK SAMPLE REGION

• Calibrated image shown (white-balance applied)
• Prompt: "Tap center of color change"
• Adjustable circle radius (slider)
• Median RGB of circle convert to LAB →

• Live reaction-area checks:
→ circle area below minimum → "Reaction area too small"
→ high ROI colour spread → "Multiple colours detected"
→ strong glare on reaction area → "Retake required — strong reflection detected"

• Retake or End Test → saved as Inconclusive (reason: Excessive glare)
• Milder glare reduces quality score and may contribute to Inconclusive
• Uniformly pale / clear sample is not treated as glare

→ Result Screen

SCREEN 7 — RESULT SCREEN

• Result: Preliminary Positive / Preliminary Negative / Inconclusive + confidence + ΔE

• Capture Quality: 0–100 + Good / Fair / Poor + top reasons
→ Good 80–100 | Fair 60–79 | Poor < 60 (initial prototype cut-offs)
→ weighted inputs: sharpness, clipped pixels, glare, colour residual, ROI std dev, reaction area size, card confidence
→ hard gates: severe blur, strong glare, CARD INVALID

• Card status: CARD VALID + calibration ΔE
• Kit: type, batch, expiry, status
• Reaction timing: required time, actual time, in-window status
• Metadata: timestamp, GPS, operator ID, kit type, case ID, Reference DB version

• If Inconclusive → show all applicable reasons:
☑ Image too blurry
☑ Poor lighting
☑ Excessive glare
☑ Reaction area too small
☑ Multiple colours detected
☑ Card calibration failed
☑ Measurement uncertainty too high
☑ Reaction outside reference range
☑ Captured outside reaction window

• Recommended action:
→ Retake photograph — correctable capture issue
→ Repeat field test according to kit protocol — uncertainty / multiple colours / timing
→ Preserve sample for laboratory confirmation — uncertain/outside reference range or repeat also Inconclusive

• Buttons: Save | Retake | Repeat test

→ Save + Export

SCREEN 8 — SAVE + EXPORT

• Save SQLite insert: →
compute prev_hash from last record →
compute record_hash →
sign with device keypair →

• Store:
test_id
timestamp
GPS
operator_id
kit type / kit ID / batch / expiry
reaction timer data
capture quality score + reasons
card validation + calibration ΔE
result + confidence + ΔE
inconclusive reasons
retake count
retest_of
Reference DB version

Store image in app dir -> Generate the evidence PDF with react-native-html-to-pdf -> embed image, metadata, hash, and QR code -> Share JSON + image for verification

→ Home

SCREEN 9 — HISTORY

- sync_status is PENDING, SYNCED, or FAILED.

→ Retest Comparison

SCREEN 9A — RETEST COMPARISON

• Repeat test → Screen 3 with case ID + kit type pre-filled; new kit scan required
• New test is saved as a separate record
• Side-by-side read-only view:

TEST 1 | TEST 2

result | result
ΔE | ΔE
quality | quality
card status | card status
kit / batch | kit / batch
reaction time | reaction time
timestamp | timestamp

• No merged or combined result is computed
• Each record keeps its own hash, signature and chain position
• Test 2 stores retest_of = Test 1 test_id
• Test 1 is never edited
• Comparison view is display-only

→ History

SCREEN 10 — VERIFY

• Opens verify.html in browser OR in-app WebView
• User uploads JSON + image verifies →
• Shows: hash match, signature valid, chain intact

IMPLEMENTATION ARCHITECTURE - PROTOTYPE BOUNDARY

React Native UI -> workflow state machine -> domain services for classification and evidence -> native adapters for camera/image analysis, SQLite, secure storage, GPS, QR, and PDF export -> canonical JSON evidence package -> verify.html.

Prototype boundary: bundled versioned Reference DB, local SQLite, simulated sync adapter, explicit prototype signing, and no claim of production-grade legal evidence or laboratory confirmation.

OFFLINE SYNC - CURRENT PROTOTYPE (LOCAL QUEUE; SERVER SYNC SIMULATED)

- Every test is saved locally in SQLite before synchronization.

- Offline mode continues normally and keeps the record in the local queue.

• sync_status: PENDING / SYNCED / FAILED →

- A mock sync adapter demonstrates retry behavior; no production backend is claimed.

- Failed synchronization can be retried and local evidence is retained.

SUPERVISOR REVIEW — CURRENT IMPLEMENTATION

- Supervisor can open submitted records in read-only mode.

- Review shows result, capture quality, kit details, timing, metadata, and sync status.

- Review status is REVIEWED, REQUIRES RETEST, or REQUIRES LAB CONFIRMATION.

- Supervisor review does not modify the original signed test record.

How we are going to showcase project to judges : SIMULATION ONLY — NO DRUGS & NO REAL KIT

All demo materials must be visibly labelled: "SIMULATED — NOT A DRUG TEST".

Option 1: Printed Color Swatch Cards

- Print small cards (business-card size) with solid color blocks.

- Each card represents a simulated test result.

- Label the back: SIMULATED - Colour A, SIMULATED - Colour B, or SIMULATED - Clear Sample.

How you demo

- Place the reference card + simulated color card side by side

- Point camera → tap 6 reference patches → tap sample color →

- App classifies and shows result →

- Example output: "DEMO: Simulated Preliminary Positive — colour-match confidence 94%"

Option 2: Simulated Test Pouch

- Use small transparent pouches with colored water or food dye only as a simulation.

- Label every pouch SIMULATED - NOT A DRUG TEST.

- Use different colors only for different demo scenarios.

How you demo

- Place the pouch flat on white paper

- Place reference card next to it

- Capture → calibrate → classify →

- App shows simulated result

Option 3: Printed "Fake Test Results" on Paper

- Print simulated pouch images or solid color rectangles that mimic reagent colors.

- Label them SIMULATED - NOT A DRUG TEST.

- Laminate them only for presentation durability.

How you demo

- Camera sees the printed color, then the app calibrates and classifies it.

Option 4: Colored Liquid in Glass Vials

- Use small glass vials with colored water only as a simulation.

- Label them SIMULATED TEST A, SIMULATED TEST B, and so on.

- Do not represent the liquid as an actual drug or reagent.

How you demo

- Hold the vial against a white background with the reference card, then capture and classify.

Option 5: The "Before/After" Trick

- Use two pouches for one visual simulation: Pouch 1 is clear before simulation and Pouch 2 is colored after simulation.

- Explain that the visual change represents the workflow only.

- In a real kit, the color change would come from the actual test chemistry.

How you demo

- Show "before" pouch → app says "No reaction yet" →

- Swap to "after" pouch → app says simulated result →

- Explain: "In a real kit, breaking the ampoule causes the actual reaction."

Extra demo scenarios for the new features

QR Kit Validation

- Show a valid simulated kit QR -> kit status: VALID -> continue.

- Show an expired simulated kit QR -> kit status: EXPIRED -> test blocked.

Reference Card Validation

• Use a correct reference card → CARD VALID
• Move/tap a wrong patch → CARD INVALID → test blocked

Reaction Timer

• Start simulated reaction timer → capture remains locked →
• Required time reached → CAPTURE WINDOW OPEN

Capture Quality Score

• Good image → 92 / 100 — Good
• Blurry image → Poor — Retake
• Strong reflection → Retake required — strong reflection detected

Retest

• Run Test 1 → save result
• Select Repeat Test → perform Test 2
• Show both records side-by-side
• Explain that both records remain independent and are linked through retest_of

Important demo wording:
Do not show food dye / coloured water as "Opium alkaloids — 94%", "Amphetamine — 94%", etc. The demo should only show a simulated preliminary result based on colour matching.