Praman Setu (प्रमाण सेतु)

Tech stack Package

| Framework | React Native | Cross-platform mobile application |
| --- | --- | --- |
| Camera | react-native-vision-camera | Camera preview + capture |
| Image math | OpenCV + JavaScript | Image preprocessing, pixel access, RGB manipulation |
| Color science | JavaScript | LAB, ΔE, gain correction |
| QR scan | React Native QR scanner | Kit ID + batch/lot + expiry |
| QR generate | react-native-qrcode-svg | Embed in PDF |
| PDF | React Native PDF | Evidence / test report |
| Storage | SQLite | Local records + offline sync queue |
| Secure keys | Android Keystore / iOS Keychain | Store keypair |
| Crypto | JavaScript crypto / native crypto APIs | Sign + hash |
| GPS | react-native-geolocation-service | Location |
| Auth | React Native Biometrics + PIN | Operator ID |
| Root detect | React Native device integrity | Tamper flag |
| Blur detect | OpenCV (Laplacian variance) | Quality gate |
| Verification page | Plain HTML + JS | — |

What need to implement for prototype : 27th sep

- Guided camera capture (overlay + exposure/WB lock)

- Manual tap on 6 reference patches

- White-patch gain correction (calibration)

- Sample region tap + RGB LAB conversion →

- ΔE classification + confidence + inconclusive threshold

- Metadata bundle: timestamp, GPS, operator ID, kit type

- SHA-256 of original (uncorrected) image

- SQLite log with list + basic filters

- Result screen showing all metadata

- Hash-chain records

- Sign each record with device keypair

- Verification webpage

- QR scan for kit ID / batch / expiry

- PDF export with embedded hash + QR code

- PIN login (mock operator auth)

- Capture quality gate (blur + glare warning)

- Reference DB version field

- Capture Quality Score (0–100 + Good / Fair / Poor + reasons)

- Specular glare detection on reaction area (hard block: retake required)

- Reference card validation (CARD VALID / CARD INVALID gate)

- Kit record from QR (kit ID, batch, dates, VALID / EXPIRED status)

- Reaction timer + capture window (interval from kit protocol)

- Structured inconclusive reasons + recommended action

- Retest comparison (two separate linked records, side-by-side view)

Offline-first sync with local queue, pending/synced/failed status and retry

Supervisor review with read-only test details and review status

Last day sprint : Sunday (27 sep)

- 27. Test cases

- 28. Backup demo video

- 29. Pitch + rehearsal

(Part of ppt right now , but will not be implemented right now)

Future scope

Device root/jailbreak detection
 Encrypted key storage (Android Keystore / iOS Keychain)
 Mock role toggle (Officer/Supervisor UI)
 Mock sync status indicator

Backend

API gateway + PostgreSQL + S3
 Analytics dashboard
 Real-time multi-agency sync

Security / Legal

Agency PKI (key provisioning + revocation)
 RFC 3161 trusted timestamps
 HSM for signing keys
 Blockchain Merkle anchoring
 Full SQLCipher encryption

Intelligence

Auto reference card detection (OpenCV)
 On-device CNN classifier
 Multi-kit color library (full NIK + DABIT)
 Per-device calibration profiles

Roles / Workflow

Lab result linkage
 Court portal (read-only web)
 Multi-officer co-signing
 Full RBAC

SCREEN 1 — LOGIN

• Badge ID + PIN (mock auth)
• Optional: fingerprint via React Native Biometrics
• On success store operator_id in session →
• Role loaded: Officer / Supervisor →
→ Officer → Home
→ Supervisor → Supervisor Review
• Root/jailbreak check runs silently flag stored →

SCREEN 2 — HOME

• Officer name + badge ID
• "Start New Test" button
• "View History" button
• Sync status: SYNCED / PENDING / FAILED

→ New Test OR History

SCREEN 3 — KIT SELECT + QR SCAN

• Dropdown: NIK Test A / B / C / D
• Button: "Scan Kit QR" React Native QR scanner opens →
reads kit ID, kit type, manufacturer, batch/lot, mfg date, expiry date → auto-fills →
• Kit type auto-selects in dropdown (locked after scan)
• Optional: Case ID / FIR number
• Optional: Witness badge ID (for future co-signing)
• Kit summary shows: Type, Batch, Expiry and Status: VALID / EXPIRED
• VALID → continue
• EXPIRED / UNRECOGNISED → "Kit not valid — do not use" → cannot continue
• Kit metadata + status saved with test record

→ Reaction Timer

SCREEN 3A — REACTION TIMER

• Kit protocol checklist (from Reference DB)
• "START TIMER" records reaction start time
• Required interval comes from validated kit protocol — not editable by officer
• Camera may open during countdown for alignment, but capture stays locked
• At required time → vibration + "CAPTURE WINDOW OPEN" → capture enabled
• Capture after maximum window (if defined) → saved, result forced Inconclusive
• Store timer_start, capture_time, elapsed_s, required_s, in_window

→ Guided Capture

SCREEN 4 — GUIDED CAPTURE

• OpenCV image preprocessing for blur, exposure and glare quality checks →

• Live camera preview
• Overlay: [Reference Card rectangle] + [Test Kit rectangle]
• On alignment:
lock exposure + white balance →
capture button turns green →

• Quality gate on capture:
Laplacian variance < threshold → "Image too blurry, retake" →
Glare detection on reaction area → "Retake required — strong reflection detected" →

• Interim Capture Quality:
"92 / 100 — Good"
OR
"Poor — Retake" + top reasons

→ Mark Reference Patches

SCREEN 5 — MARK 6 REFERENCE PATCHES

• Captured image shown
• Prompt sequence:
"Tap WHITE patch" dot placed →
"Tap BLACK patch" dot placed →
"Tap RED patch"
"Tap GREEN patch"
"Tap BLUE patch"
"Tap GRAY patch"

• Each tap 5×5 pixel avg stored → →
• "Retake" always available

• After 6th tap → calibration gains computed + reference card validation runs:
✔ all 6 patches marked and inside frame
✔ expected hue for each patch
✔ white patch not clipped / black patch not crushed
✔ neutral ramp black → gray → white
✔ calibration residual ΔE within limit
✔ card version recognised in Reference DB (QR)

• All checks pass → CARD VALID → continue
• Any check fails → CARD INVALID — DO NOT CONTINUE + failed checks listed
• Retake or End Test → saved as Inconclusive (reason: Card calibration failed)
• Card check result + calibration ΔE stored with record

→ Mark Sample Region

SCREEN 6 — MARK SAMPLE REGION

• Calibrated image shown (white-balance applied)
• Prompt: "Tap center of color change"
• Adjustable circle radius (slider)
• Median RGB of circle convert to LAB →

• Live reaction-area checks:
→ circle area below minimum → "Reaction area too small"
→ high ROI colour spread → "Multiple colours detected"
→ strong glare on reaction area → "Retake required — strong reflection detected"

• Retake or End Test → saved as Inconclusive (reason: Excessive glare)
• Milder glare reduces quality score and may contribute to Inconclusive
• Uniformly pale / clear sample is not treated as glare

→ Result Screen

SCREEN 7 — RESULT SCREEN

• Result: Preliminary Positive / Preliminary Negative / Inconclusive + confidence + ΔE

• Capture Quality: 0–100 + Good / Fair / Poor + top reasons
→ Good 80–100 | Fair 60–79 | Poor < 60 (initial prototype cut-offs)
→ weighted inputs: sharpness, clipped pixels, glare, colour residual, ROI std dev, reaction area size, card confidence
→ hard gates: severe blur, strong glare, CARD INVALID

• Card status: CARD VALID + calibration ΔE
• Kit: type, batch, expiry, status
• Reaction timing: required time, actual time, in-window status
• Metadata: timestamp, GPS, operator ID, kit type, case ID, Reference DB version

• If Inconclusive → show all applicable reasons:
☑ Image too blurry
☑ Poor lighting
☑ Excessive glare
☑ Reaction area too small
☑ Multiple colours detected
☑ Card calibration failed
☑ Measurement uncertainty too high
☑ Reaction outside reference range
☑ Captured outside reaction window

• Recommended action:
→ Retake photograph — correctable capture issue
→ Repeat field test according to kit protocol — uncertainty / multiple colours / timing
→ Preserve sample for laboratory confirmation — uncertain/outside reference range or repeat also Inconclusive

• Buttons: Save | Retake | Repeat test

→ Save + Export

SCREEN 8 — SAVE + EXPORT

• Save SQLite insert: →
compute prev_hash from last record →
compute record_hash →
sign with device keypair →

• Store:
test_id
timestamp
GPS
operator_id
kit type / kit ID / batch / expiry
reaction timer data
capture quality score + reasons
card validation + calibration ΔE
result + confidence + ΔE
inconclusive reasons
retake count
retest_of
Reference DB version

• Store image in app dir →
• Export PDF pdf package: →
embeds image, metadata, hash, QR code →
• Share exports JSON + image for verification →

→ Home

SCREEN 9 — HISTORY

• List (newest first): test_id, result, time, kit, sync_status
• Filters: date range | officer | result type | kit type | case number
• Tap Detail View (read-only, same as Screen 7) →
• Swipe delete (with warning: breaks chain) →
• Badge: "synced" / "pending"
• Repeat Test button → creates a new linked record

→ Retest Comparison

SCREEN 9A — RETEST COMPARISON

• Repeat test → Screen 3 with case ID + kit type pre-filled; new kit scan required
• New test is saved as a separate record
• Side-by-side read-only view:

TEST 1 | TEST 2

result | result
ΔE | ΔE
quality | quality
card status | card status
kit / batch | kit / batch
reaction time | reaction time
timestamp | timestamp

• No merged or combined result is computed
• Each record keeps its own hash, signature and chain position
• Test 2 stores retest_of = Test 1 test_id
• Test 1 is never edited
• Comparison view is display-only

→ History

SCREEN 10 — VERIFY

• Opens verify.html in browser OR in-app WebView
• User uploads JSON + image verifies →
• Shows: hash match, signature valid, chain intact

How we are going to showcase project to judges : SIMULATION ONLY — NO DRUGS & NO REAL KIT

OFFLINE SYNC — CURRENT IMPLEMENTATION

• Every test is saved locally in SQLite before synchronization →

• Offline mode: test continues normally and record remains stored locally →

• sync_status: PENDING / SYNCED / FAILED →

• When network returns, pending records are synchronized automatically →

• Failed synchronization can be retried; local evidence is not deleted →

SUPERVISOR REVIEW — CURRENT IMPLEMENTATION

• Supervisor can open submitted test records in read-only mode →

• Review shows result, capture quality, kit details, timing, metadata and sync status →

• Review status: REVIEWED / REQUIRES RETEST / REQUIRES LAB CONFIRMATION →

• Supervisor review does not modify the original test record →

All demo materials must be visibly labelled: "SIMULATED — NOT A DRUG TEST".

Option 1: Printed Color Swatch Cards

Print small cards (business-card size) with solid color blocks
 Each card represents a simulated test result
 Label them on the back: "SIMULATED — Colour A", "SIMULATED — Colour B", "SIMULATED — Clear Sample"

How you demo

- Place the reference card + simulated color card side by side

- Point camera → tap 6 reference patches → tap sample color →

- App classifies and shows result →

- Example output: "DEMO: Simulated Preliminary Positive — colour-match confidence 94%"

Option 2: Simulated Test Pouch

Small ziplock bags or transparent pouches
 Fill each with a tiny amount of coloured water / food dye
 Clearly label each pouch: "SIMULATED — NOT A DRUG TEST"
 Different colours represent different demo scenarios only

How you demo

- Place the pouch flat on white paper

- Place reference card next to it

- Capture → calibrate → classify →

- App shows simulated result

Option 3: Printed "Fake Test Results" on Paper

Print simulated test pouch images on paper
 Or print solid colour rectangles that mimic reagent colours
 Label them "SIMULATED — NOT A DRUG TEST"
 Laminate them so they look like physical objects

How you demo

Same as above — camera sees the printed colour, app calibrates and classifies

Option 4: Colored Liquid in Glass Vials

Buy small glass vials with caps
 Fill with coloured water
 Label as "SIMULATED TEST A", "SIMULATED TEST B", etc.
 Do not represent the liquid as an actual drug or reagent

How you demo

Hold vial against white background + reference card
 Capture → classify →

Option 5: The "Before/After" Trick

Two pouches per "test":
o Pouch 1: clear liquid (before simulation)
o Pouch 2: coloured liquid (after simulation)

Explain that this is only a visual simulation of the before/after workflow.
 In a real kit, the colour change would come from the actual test chemistry.

How you demo

- Show "before" pouch → app says "No reaction yet" →

- Swap to "after" pouch → app says simulated result →

- Explain: "In a real kit, breaking the ampoule causes the actual reaction."

Extra demo scenarios for the new features

QR Kit Validation

• Show a valid simulated kit QR → kit status: VALID → continue
• Show an expired simulated kit QR → kit status: EXPIRED → test blocked

Reference Card Validation

• Use a correct reference card → CARD VALID
• Move/tap a wrong patch → CARD INVALID → test blocked

Reaction Timer

• Start simulated reaction timer → capture remains locked →
• Required time reached → CAPTURE WINDOW OPEN

Capture Quality Score

• Good image → 92 / 100 — Good
• Blurry image → Poor — Retake
• Strong reflection → Retake required — strong reflection detected

Retest

• Run Test 1 → save result
• Select Repeat Test → perform Test 2
• Show both records side-by-side
• Explain that both records remain independent and are linked through retest_of

Important demo wording:
Do not show food dye / coloured water as "Opium alkaloids — 94%", "Amphetamine — 94%", etc. The demo should only show a simulated preliminary result based on colour matching.